## Sheet1
TEST CASES | Values |  | RESULT
CONNECTING TO IMPEDANCE ANALYZER | When hardware cable is connected |  | PASS - Connected
| When hardware is not connected |  | PASS - Message 'Not Connected' appears
CONNECTING TO TEMP. CONTROLLER | When hardware cable is connected |  | PASS - Connected
| When hardware is not connected |  | PASS - Message 'Not Connected' appears
| METHOD1 |  | 4/5 PASSED, Below testcases for accuracy are for method1 only
METHODS OF APPROACH
| METHOD2 | Time Interval = 5seconds | PASS
INPUTS
INITIAL AND FINAL TEMPERATURE | Values in range 4-400K |  | PASS
| Values outside this range |  | PASS - displays error and asks to insert values again
| 0.5 |  | PASS
ACCURACY | 0.2 |  | PASS
| 0.1 |  | PASS
| 0.05 |  | PASS
| 0.02 |  | Temperature Controller took too long to reach at this accuracy at given heater power
TEMPERATURE INTERVAL | 1 Kelvin |  | PASS - Temperature interval is usually kept fixed at 1K
| HEATING (305 - 310 K) |  | PASS
PROCESSES | COOLING (310 to 305 K) |  | PASS
| COOLING (310 to 300K(Below Room Temperature)) |  | FAIL - To experiment at below room temperature, Cooling envirenment is required which was not available at moment. Experiment stops at room temperature, change in temperature can be noticed in temperature vs time graph
| HEATING THEN COOLING (308-310-308K) |  | PASS
| COOLING THEN HEATING |  | This method of experimentation is not followed
| For single property |  | PASS
GRAPH Plotting | For two properties |  | PASS
| For three properties |  | PASS
| For all propertires Together |  | PASS
| Temperature vs Time |  | PASS
DATA DISPLAY IN TABLE | For all the above testcases in method1 and method2 |  | PASS
SAVING GRAPHS | FOR METHOD1 |  | PASS - All graphs saved in one folder
| FOR METHOD2 |  | PASS - All graphs saved in one folder
SAVING TABLE DATA | FOR METHOD1 |  | PASS
| FOR METHOD2 |  | PASS
USER INTERFACE IN TERMS OF SIMPLICITY | VIEWER 1 |  | 7
| VIEWER 2 |  | 8.5
| VIEWER 3 |  | 7.5
| VIEWER 4 |  | 8
| VIEWER 5 |  | 8.5
| VIEWER 6 |  | 8
| VIEWER 7 |  | 9
| VIEWER 8 |  | 7.5
| VIEWER 9 |  | 8
| VIEWER 10 |  | 9